| IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER |
| --- |
| Vienna Correctional Center Has Levels of Chlorite Above Drinking Water Standards |
| Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we are doing to correct this situation. |
| We routinely monitor for the presence of drinking water contaminants. Testing results we received on January 3, 2005 show that our system exceeds the standard, or maximum contaminant level (MCL), for Chlorite during the month of December 2004. The standard for chlorite is 1.0 mg/L [MCL]. The average level of chlorite was found at 1.1 mg/L. |
| What should I do? |
| You do not need to use an alternative (e.g., bottled) water supply. However, if you have specific health concerns, consult your doctor. |
| What does this mean? |
| This is not an immediate risk. If it had been, you would have been notified immediately. However, Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorite in excess of the MCL. Some people may experience anemia. |
| What happened? What is being done? |
| For more information, please contact |
| Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. |
| This notice is being sent to you by Vienna Correctional Center | Water System ID# | IL0875510 | Date distributed |  |  |